## interaction & tot score
Please note, ALL data shown in these tables is for demonstration purposes only
Whole House, Higher performing system selection
88 System Choices | 528
88 System Choices maximum number of interactions 88x88/2=3,872 max score is 88x3=264 min score is 88x-3=-264 total variance is 264x2=528 interaction factor is interaction score / 528 subtracted from 1 3 = major improvement 2 = substantial improvement 1 = some improvement 0 = no substantial interaction -1 = some degradation -2 = substantial degradation -3 = major degradation | Architect and Engineer | Production Design, Custom Siting | Fully Engineered Structural System | Fully Engineered Mechanical System | Fully Engineered Water, Sewer and Gas System | Fully Engineered Electric Power and Light System | Overhangs > 1 foot | Ventilated Attic | Grading Designed to slope away from foundation | Landscape designed integration | Minimum Exterior corners | Minimal Envelope penetrations < 16 | SIPS Panel construction method | In-house superintendent, in-house shell crew, minimal subs | Quality check of personnel training | Quality check of work as increments are completed | Quality check of performance of the work | Safety training for personnel at project start | Daily safety briefings | Daily safety inspections for rigging, trenching, temp structures | Tooling and materials designed for safety | Crushed rock footing | Precast concrete foundation | Wire mesh reinforcing for slab on grade | Extruded polystyrene foundation insulation | Sheet applied bituthene foundation waterproofing | 6 mil poly sheet horizontal moisture control membrane | Drain tile at footing | Drain board | Free draining backfill | Prefabricated trusses and floor panels, factory assembled | Sips panel exterior walls | Fully sheathed in shear panels | Prefabricated wood truss roof framing | Masonry veneer siding | Water managed wall (rainscreen) | Asphalt impregnated building paper wall air barrier | (no additional wall insulation, sips panel only) | (no additional wall vapor barrier, sips panel only) | prefabricated plastic window flashing | asphalt shingle roof | bituthene sheet ice guard | building paper secondary membrane | glass batt attic insulation | roof ventilation, eave to ridge, preformed chutes | prefabricated metal roof flashing | glass batt floor insulation | building paper floor vapor barrier | no floor ventilation, basement | prefabricated light gauge steel partitions | drywall wall finish substrate | 1 latex primer, 2 finish latex paint at exterior wall | 1 latex primer, 2 finish latex paint at interior wall | OSB subfloor | Pad and carpet floor finish | Drywall ceiling | 1 high build primer/finish paint coat at ceiling | Stone countertops | Milled wood interior trim | Prefabricated milled wood cabinets | Plumber installed gas venting | Third party tested gas venting | Appliances by builder | Unbundled systems integration strategy | Prefabricated trunks and feeder utility distribution strategy | Ductwork in conditioned spaces | Prefabricated ductboard ducts | Water piping all in conditioned spaces | Water piping copper | All water piping insulated | Sewer piping in partitions | Electrical wiring romex | Communication wiring cat 5/6 | On grid power | Lighting designed by lighting engineer | Lighting compact fluorescent | Municipal water | Filtered | Softened | No storage of water | Municipal disposal of waste | Gas hot air furnace | Air distribution system | Integrated hot water and furnace | Core diffuser locations | Low velocity air | Point diffusers | Individual returns ducted from each space | Air to air heat exchange ventilation | summary interaction score | interaction factor reciprocal of (score/528 subracted from 1) | Raw performancescore from sheet 2 | performance score factored bysystem & user value weights | adjusted performance of factor within whole system is interaction factor x performance score
Architect and Engineer |  | 2 | 2 | 2 | 2 | 2 | 1 | 1 | 1 | 2 | 1 | 1 | 1 | 1 | 0 | 2 | 2 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 2 | 1 | 1 | 2 | 1 | 1 | 0 | 0 | -1 | 1 | 0 | 1 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 2 | 1 | 1 | 1 | 0 | 0 | 1 | 1 | 1 | 1 | 0 | 1 | 2 | 1 | 1 | 1 | 2 | 1 | 2 | 0 | 1 | 0 | 0 | 1 | 0 | 2 | 1 | 0 | 1 | 1 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 1 | 1 | 72 | 1.1579 | 66 | 79.75 | 92.3421
Production Design, Custom Siting |  |  | 2 | 2 | 2 | 2 | 1 | 1 | 2 | 2 | 0 | 1 | 1 | 1 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 2 | 2 | 0 | 2 | 1 | 1 | 0 | 0 | -1 | 1 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 2 | 1 | 2 | 1 | 2 | 0 | 1 | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 1 | 1 | 57 | 1.121 | 65 | 74.5 | 83.5159
Fully Engineered Structural System |  |  |  | 2 | 2 | 2 | 1 | 1 | 1 | 1 | 1 | 2 | 2 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 1 | 2 | 2 | 0 | 0 | 0 | 0 | -1 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 1 | 0 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 1 | 0 | 0 | 0 | 51 | 1.1069 | 38 | 48.75 | 53.9623
Fully Engineered Mechanical System | [5 empty] | 2 | 1 | 2 | 0 | 2 | 2 | 2 | 2 | 1 | 1 | 2 | 3 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | -1 | 1 | 2 | 3 | 2 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 2 | 1 | 1 | 1 | 2 | 2 | 58 | 1.1234 | 63 | 79.75 | 89.5915
Fully Engineered Water, Sewer and Gas System | [5 empty] | 2 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 2 | 1 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | -1 | 1 | 0 | 0 | 1 | 2 | 0 | 1 | -1 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 31 | 1.0624 | 39 | 48.25 | 51.2596
Fully Engineered Electric Power and Light System | [6 empty] | 0 | 0 | 0 | 0 | 1 | 0 | -1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | -1 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | -1 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9 | 1.0173 | 46 | 57 | 57.9884
Overhangs > 1 foot | [7 empty] | 1 | 2 | 0 | 1 | 2 | 0 | 2 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 2 | 2 | 0 | 2 | 1 | 1 | 0 | 2 | 0 | 2 | 0 | 2 | 1 | 0 | 0 | 1 | 0 | 2 | 1 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 37 | 1.0754 | 44 | 44 | 47.3157
Ventilated Attic | [8 empty] | 0 | 0 | 1 | 0 | 0 | 2 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 2 | 2 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 28 | 1.056 | 44 | 53.5 | 56.496
Grading Designed to slope away from foundation | [9 empty] | 1 | 1 | 0 | 1 | 2 | 1 | 2 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 2 | 0 | 2 | 1 | 1 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 28 | 1.056 | 43 | 51.75 | 54.648
Landscape designed integration | [10 empty] | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 13 | 1.0252 | 42 | 51 | 52.2874
Minimum Exterior corners | [11 empty] | 1 | 1 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 2 | 0 | 0 | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 2 | 2 | 2 | 1 | 1 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 1 | 1 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 2 | 1 | 0 | 0 | 0 | 45 | 1.0932 | 48 | 52.75 | 57.6646
Minimal Envelope penetrations < 16 | [12 empty] | 2 | 2 | 0 | 1 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 2 | 0 | 2 | 1 | 1 | 0 | 0 | 2 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 2 | 1 | 1 | 0 | 0 | 37 | 1.0754 | 42 | 49.25 | 52.9613
SIPS Panel construction method | [13 empty] | 2 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 1 | 0 | 2 | 2 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | -1 | -1 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 2 | 1 | 0 | 0 | 3 | 33 | 1.0667 | 56 | 62 | 66.1333
In-house superintendent, in-house shell crew, minimal subs | [14 empty] | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 2 | 1 | 1 | 1 | 1 | 1 | 2 | 2 | 1 | 2 | 2 | 1 | 0 | 0 | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 1 | 1 | 0 | 0 | 2 | 77 | 1.1707 | 40 | 43.75 | 51.2195
Quality check of personnel training | [15 empty] | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 2 | 1 | 1 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 2 | 2 | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 72 | 1.1579 | 57 | 69.25 | 80.1842
Quality check of work as increments are completed | [16 empty] | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 2 | 1 | 1 | 0 | 0 | 1 | 1 | 1 | 1 | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 2 | 2 | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 84 | 1.1892 | 45 | 58.5 | 69.5676
Quality check of performance of the work | [17 empty] | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 2 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 0 | 0 | 1 | 1 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 1 | 2 | 2 | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 62 | 1.133 | 36 | 42.75 | 48.4378
Safety training for personnel at project start | [18 empty] | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 2 | 1 | 1 | 1 | 0 | 0 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 0 | 0 | 1 | 1 | 1 | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 35 | 1.071 | 26 | 33.25 | 35.6105
Daily safety briefings | [19 empty] | 1 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 2 | 1 | 1 | 1 | 0 | 0 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 29 | 1.0581 | 25 | 30.5 | 32.2725
Daily safety inspections for rigging, trenching, temp structures | [20 empty] | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 2 | 1 | 1 | 1 | 0 | 0 | 1 | 1 | 1 | 0 | 0 | 1 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 30 | 1.0602 | 26 | 34.25 | 36.3133
Tooling and materials designed for safety | [21 empty] | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 2 | 1 | 1 | 1 | 0 | 0 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 30 | 1.0602 | 27 | 36 | 38.1687
Crushed rock footing | [22 empty] | 0 | 0 | 0 | -1 | 0 | -1 | -1 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0.99623 | 29 | 96 | 95.6377
Precast concrete foundation | [23 empty] | 0 | 1 | 1 | 0 | 0 | 0 | 1 | 0 | 1 | 1 | 1 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | -1 | -1 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12 | 1.0233 | 36 | 116.25 | 118.9535
Wire mesh reinforcing for slab on grade | [24 empty] | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1.0019 | 34 | 105 | 105.1992
Extruded polystyrene foundation insulation | [25 empty] | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9 | 1.0173 | 43 | 140.25 | 142.6821
Sheet applied bituthene foundation waterproofing | [26 empty] | 0 | 1 | 2 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 23 | 1.0455 | 25 | 77.25 | 80.7683
6 mil poly sheet horizontal moisture control membrane | [27 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6 | 1.0115 | 36 | 124.5 | 125.931
Drain tile at footing | [28 empty] | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15 | 1.0292 | 40 | 140.25 | 144.3509
Drain board | [29 empty] | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 17 | 1.0333 | 42 | 153.75 | 158.865
Free draining backfill | [30 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 18 | 1.0353 | 32 | 114 | 118.0235
Prefabricated trusses and floor panels, factory assembled | [31 empty] | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 1 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 0 | 0 | 1 | 1 | 41 | 1.0842 | 46 | 237.5 | 257.4949
Sips panel exterior walls | [32 empty] | 1 | 1 | 1 | 2 | 2 | 0 | 0 | 2 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | -1 | -1 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 1 | 1 | 0 | 0 | 1 | 38 | 1.0776 | 45 | 247.5 | 266.6939
Fully sheathed in shear panels | [33 empty] | 1 | 1 | 1 | 2 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 29 | 1.0581 | 42 | 246.25 | 260.5611
Prefabricated wood truss roof framing | [34 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 38 | 1.0776 | 49 | 252.5 | 272.0816
Masonry veneer siding | [35 empty] | 2 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 19 | 1.0373 | 39 | 129 | 133.8153
Water managed wall (rainscreen) | [36 empty] | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 27 | 1.0539 | 41 | 144 | 151.7605
Asphalt impregnated building paper wall air barrier | [37 empty] | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 22 | 1.0435 | 35 | 119.25 | 124.4348
(no additional wall insulation, sips panel only) | [38 empty] | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1.0019 | 0 | 0 | 0
(no additional wall vapor barrier, sips panel only) | [39 empty] | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 0
prefabricated plastic window flashing | [40 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 21 | 1.0414 | 31 | 105 | 109.3491
asphalt shingle roof | [41 empty] | 2 | 0 | 1 | 2 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15 | 1.0292 | 50 | 143.25 | 147.4386
bituthene sheet ice guard | [42 empty] | 0 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 21 | 1.0414 | 42 | 141.75 | 147.6213
building paper secondary membrane | [43 empty] | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 14 | 1.0272 | 44 | 141.75 | 145.6109
glass batt attic insulation | [44 empty] | 2 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 22 | 1.0435 | 47 | 150 | 156.5217
roof ventilation, eave to ridge, preformed chutes | [45 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 24 | 1.0476 | 49 | 171 | 179.1429
prefabricated metal roof flashing | [46 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 16 | 1.0312 | 44 | 153 | 157.7812
glass batt floor insulation | [47 empty] | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 8 | 1.0154 | 45 | 156 | 158.4
building paper floor vapor barrier | [48 empty] | 1 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 9 | 1.0173 | 33 | 114.75 | 116.7399
no floor ventilation, basement | [49 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20 | 1.0394 | 36 | 108 | 112.252
prefabricated light gauge steel partitions | [50 empty] | 1 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 1 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | -1 | 0 | 0 | 0 | 10 | 1.0193 | 37 | 15.2 | 15.4934
drywall wall finish substrate | [51 empty] | 1 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10 | 1.0193 | 37 | 14 | 14.2703
1 latex primer, 2 finish latex paint at exterior wall | [52 empty] | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | -1 | 0 | 0 | 1 | 11 | 1.0213 | 41 | 14.6 | 14.9106
1 latex primer, 2 finish latex paint at interior wall | [53 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8 | 1.0154 | 41 | 14.4 | 14.6215
OSB subfloor | [54 empty] | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 11 | 1.0213 | 35 | 14.7 | 15.0128
Pad and carpet floor finish | [55 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8 | 1.0154 | 43 | 15.9 | 16.1446
Drywall ceiling | [56 empty] | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 16 | 1.0312 | 34 | 13 | 13.4062
1 high build primer/finish paint coat at ceiling | [57 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 14 | 1.0272 | 38 | 14.4 | 14.7922
Stone countertops | [58 empty] | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 1.0038 | 39 | 15.6 | 15.6593
Milled wood interior trim | [59 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1.0019 | 34 | 20.1 | 20.1381
Prefabricated milled wood cabinets | [60 empty] | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 11 | 1.0213 | 37 | 21.3 | 21.7532
Plumber installed gas venting | [61 empty] | 2 | -1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 9 | 1.0173 | 36 | 109.85 | 111.7549
Third party tested gas venting | [62 empty] | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 14 | 1.0272 | 37 | 128.7 | 132.2054
Appliances by builder | [63 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1.0019 | 38 | 106.6 | 106.8023
Unbundled systems integration strategy | [64 empty] | 0 | 1 | 1 | 2 | 1 | 1 | -1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 1 | 0 | 2 | 2 | 1 | 29 | 1.0581 | 45 | 77.7 | 82.2156
Prefabricated trunks and feeder utility distribution strategy | [65 empty] | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 1 | 1 | 0 | 1 | 0 | 28 | 1.056 | 33 | 50.05 | 52.8528
Ductwork in conditioned spaces | [66 empty] | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 2 | 0 | 2 | 2 | 1 | 2 | 1 | 39 | 1.0798 | 59 | 104.3 | 112.6184
Prefabricated ductboard ducts | [67 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 1 | 1 | 0 | 1 | 0 | 29 | 1.0581 | 34 | 50.75 | 53.6994
Water piping all in conditioned spaces | [68 empty] | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15 | 1.0292 | 33 | 52.5 | 54.0351
Water piping copper | [69 empty] | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7 | 1.0134 | 32 | 47.6 | 48.2395
All water piping insulated | [70 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 14 | 1.0272 | 34 | 56.35 | 57.8848
Sewer piping in partitions | [71 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 29 | 40.6 | 40.6
Electrical wiring romex | [72 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 1.0057 | 35 | 65 | 65.3714
Communication wiring cat 5/6 | [73 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5 | 1.0096 | 40 | 76 | 76.7266
On grid power | [74 empty] | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 1.0076 | 31 | 60 | 60.458
Lighting designed by lighting engineer | [75 empty] | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 14 | 1.0272 | 32 | 71.5 | 73.4475
Lighting compact fluorescent | [76 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8 | 1.0154 | 26 | 55.5 | 56.3538
Municipal water | [77 empty] | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 1.0057 | 38 | 6.9 | 6.9394
Filtered | [78 empty] | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5 | 1.0096 | 32 | 31.75 | 32.0535
Softened | [79 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5 | 1.0096 | 26 | 29 | 29.2772
No storage of water | [80 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1.0019 | 36 | 32.5 | 32.5617
Municipal disposal of waste | [81 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1.0019 | 43 | 37.5 | 37.5712
Gas hot air furnace | [82 empty] | 0 | 2 | 1 | 1 | 0 | 1 | 1 | 27 | 1.0539 | 31 | 79.3 | 83.5737
Air distribution system | [83 empty] | 1 | 2 | 1 | 0 | 1 | 1 | 21 | 1.0414 | 36 | 98.8 | 102.8923
Integrated hot water and furnace | [84 empty] | 1 | 1 | 0 | 0 | 0 | 23 | 1.0455 | 39 | 104.65 | 109.4162
Core diffuser locations | [85 empty] | -1 | -2 | 0 | 0 | 20 | 1.0394 | 46 | 128.05 | 133.0913
Low velocity air | [86 empty] | -3 | 0 | 2 | 13 | 1.0252 | 33 | 89.7 | 91.9643
Point diffusers | [87 empty] | 1 | 0 | 4 | 1.0076 | 28 | 78.65 | 79.2504
Individual returns ducted from each space | [88 empty] | 1 | 18 | 1.0353 | 37 | 119.6 | 123.8212
Air to air heat exchange ventilation | [89 empty] | 24 |  | 40 | 116.35
[91 empty] | WHOLE HOUSE SCORE |  |  | 7419.9316 | this represents | 26.48% | of the best possible score for 88 factors
perfect score
28025.7863
Note on A14: Author: overall asset to coordination, integration, quality, benefits performance, should help complex, or intricate systems
Note on A15: Author: should improve integration, systems dependent on complex detailing, site adapted-performance issues, and improve quality through familiarity, production run helps make unfamiliar systems more familiar to trades (likelyhood of increased accuracy)
Note on A16: Author: helped by durability enhancing features, other eng sys reduce chance of field mods
Note on A24: Author: simplicity aids speed accuracy
Note on A25: Author: fewer openings mean fewer leaks, can't see the downside as long as openings are distributed, standard sized, and meet market expectations for light and ventilation
Note on A26: Author: should enhance speed, thermal, acoustical performance. Leaks less air so question is IAQ. OSB, glue as structure raises durability question if panel gets wet, needs big overhangs, careful opening flashing, water managed wall
Note on A27: Author: in house team should associate with higher quality, especially in critical assemblies
Note on A35: Author: doesn't provide horizontal projection to slope waterproofing, drain board to drain tile, doesn't provide impermeable barrier at drain tile, question of radon penetration…will free draining backfill direct water to below the foundation wall?
Note on AJ36: Author: concern may be movement telegraphing panel jts to masonry, haunch precision.
Note on AK17: Author: may help wall run cooler if airspace is adequately vented
Note on AL26: Author: paper is suspenders to water managed wall belt, mostly useful for managing moisture driven from inside building.
Note on AM17: Author: assumes sips meets min req "r"
Note on AN16: Author: question of vapor relationship with decay/delamination at xps/osb interface
Note on BA26: Author: question on sips, seams, flatness
Note on BB44: Author: preprinted layout on floor panels
Note on BD67: Author: not enough detail, some osb better, less surface deterioration, less defect telegraphing through carpet
Note on BE16: Author: theoretically, flatter
Note on BE27: Author: flatter framing
Note on BF16: Author: theoretically, flatter
Note on BF27: Author: higher quality, flatter substrate
Note on BI18: Author: rough ins in correct locations
Note on CH24: Author: simple is easier, easier helps reduce errors
Note on CH25: Author: less heat loss = less demand for air curtain at windows
Note on CH26: Author: less drafts reduces demand for air at perimeter
Note on CH65: Author: core locations, low velocity, and this paint system may make double vapor barrier, contribute to mold growth behind furnishings at exterior wall
Note on CI27: Author: benefits from reduced air infiltration at exterior envelope
Note on CI63: Author: partitions may need to be wider to hold larger ducts associated with low velocity air
Note on CI98: Author: combination of core (interior wall) location of registers and low velocity air may contribute to formation of cold spots, moisture buildup behind furnishings at exterior walls
Note on CJ77: Author: point diffusers combined with high velocity air can reduce duct size, reducing interference with other systems
Note on CJ98: Author: harder to reach exterior wall (source of gain/loss) with airflow
Note on CJ99: Author: incompatible, low velocity seems more suited to broad distribution of air as through linear diffusers
Note on CK77: Michael O'Brien: unbundling becomes more important with additional return ducting to minimize systems conflicts
Note on CL26: Author: tighter envelope makes air change more important to IAQ
Note on CL52: Author: helps reduce manage water vapor
Note on CL99: Author: low velocity system runs continuously at lower airspeeds, heat exchange more effective

## User input & perf score
Critical Subsystems Weighting (applied to total house composition scores by characteristics)
|  | assumptions: code-complying work average quality work mid atlantic region | [8 empty] | product & production design |  |  | 5
[11 empty] | foundation |  |  | 15
[11 empty] | superstructure |  |  | 25
[11 empty] | envelope |  |  | 15
[11 empty] | interior partitions & finishes |  |  | 2
[11 empty] | millwork |  |  | 3
[11 empty] | utility distribution |  |  | 7
[11 empty] | elec power & light |  |  | 10
[11 empty] | sewer & water |  |  | 5
[11 empty] | thermal systems |  |  | 13
[12 empty] | total pts assigned |  | 100
[44 empty] | Foundation (subgrade) Systems | [17 empty] | Superstructure Systems | [7 empty] | Envelope Systems | [29 empty] | Interior Partitions and Finishes | [19 empty] | Millwork & Appliances | [7 empty] | Utility Distribution | [15 empty] | Electric Power and Light | [9 empty] | Water & Sewer | [9 empty] | Thermal Systems
|  |  | Building Design & Engineering | [11 empty] | Production Design
Applicable User Value Weighting Sum as % | House Composition | Architect & Engineer |  | Production Design, Custom Siting |  | Fully Engineered Structural System |  | Fully Engineered Mechanical (Thermal Energy) System |  | Fully Engineered Water, Sewer and Gas System |  | Fully Engieered Electric Power and Light System |  | Overhangs > 1 foot |  | Ventilated Attic |  | Grading slopes away from foundation |  | Landscape designed integration |  | Minimal exterior corners <8 |  | Minimal envelope penetrations<16 |  | SIPS Panel construction method |  | In-house superintendent, In-house sell crew, minimal subs |  | Quality check of personnel training |  | Quality check of work as increments are completed |  | Quality check of performance of the work |  | Safety training for personnel at project start |  | Daily safety briefings |  | Daily safety inspections for rigging, trenches, temp structures |  | Tooling and materials designed for safety |  | Crushed rock footing |  | Precast concrete foundation |  | Wire mesh reinforced slab on grade |  | Extruded polystyrene foundation insulation |  | Sheet applied bituthene foundation waterproofing |  | 6 mil poly sheet horizontal moisture control membrane |  | Drain tile at footing |  | Drain board |  | Free-draining backfill |  | Prefabricated trusses and floor panels, factory assembled |  | Sips panel exterior walls |  | Fully sheathed in shear panels |  | Prefabricated wood truss roof framing |  | Masonry veener siding |  | Water managed wall (rainscreen) |  | Asphaltic impregnated building paper wall air barrier |  | (no additional wall insulation, sips panel only) |  | (no additional wall vapor barrier, sips panel only) |  | prefabricated plastic window flashing |  | Asphalt shingle roof |  | bituthene sheet ice guard |  | building paper secondary membrane |  | glass batt attic insulation |  | roof ventilation, eave to ridge, preformed chutes |  | prefabricated metal roof flashing |  | glass batt floor insulation |  | building paper floor vapor barrier |  | no floor ventilation, basement |  | prefabricated light gauge steel partitions |  | drywall wall finish substrate |  | 1 latex primer, 2 finish latex paint at exterior |  | 1 latex primer, 2 finish latex paint at interior wall |  | OSB subfloor |  | pad and carpet floor finish |  | Drywall ceiling |  | 1 high build primer/ finish coat at ceiling |  | Stone countertops |  | Milled wood interior trim |  | Prefabricated milled wood cabinets |  | Plumber installed gas appliances and vents |  | Third party tested gas venting |  | Appliance by builder |  | Unbundled systems integration strategy |  | Prefabricated trunks and feeder utility distribution strategy |  | Ductwork in conditioned spaces |  | Prefabricated ductboard ducts |  | Water piping all in conditioned spaces |  | water piping is cooper |  | All water piping insulated |  | Sewer piping in partitions |  | Eletrical wiring romex |  | Communication wiring cat 5/6 |  | On grid power |  | Lighting designed by lighting engineer |  | Lighting compact fluorescent |  | Municipal water |  | Filtered |  | Softened |  | No storage of water |  | Municipal disposal of waste |  | Gas hot air furnace |  | Air distribution system |  | Integrated hot water and furnace |  | Core diffuser locations |  | Low velocity air |  | Point diffusers |  | Indivisual returns ducted from each space |  | Air to air heat exchange ventilation
0.2 | Moisture / Vapor Control | 4 | 4 | 2 | 2 | 1 | 1 | 4 | 4 | 1 | 1 | 1 | 1 | 4 | 4 | 4 | 4 | 5 | 5 | 3 | 3 | 3 | 3 | 3 | 3 | 2 | 2 | 2 | 2 | 2 | 2 | 3 | 3 | 2 | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 3 | 9 | 3 | 9 | 1 | 3 | 4 | 12 | 3 | 9 | 4 | 12 | 4 | 12 | 4 | 12 | 3 | 9 | 1 | 5 | 1 | 5 | 1 | 5 | 2 | 10 | 3 | 9 | 5 | 15 | 2 | 6 |  |  |  |  | 2 | 6 | 4 | 12 | 4 | 12 | 3 | 9 | 1 | 3 | 4 | 12 | 3 | 9 | 1 | 3 | 2 | 6 | 1 | 3 | 1 | 0.4 | 2 | 0.8 | 1 | 0.4 | 1 | 0.4 | 1 | 0.4 | 1 | 0.4 | 1 | 0.4 | 1 | 0.4 | 1 | 0.4 | 1 | 0.6 | 1 | 0.6 | 1 | 2.6 | 1 | 2.6 | 1 | 2.6 | 1 | 1.4 | 1 | 1.4 | 4 | 5.6 | 2 | 2.8 | 1 | 1.4 | 1 | 1.4 | 1 | 1.4 | 1 | 1.4 | 1 | 2 | 1 | 2 | 1 | 2 | 1 | 2 | 1 | 2 | 1 | 0.2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 2.6 | 1 | 2.6 | 1 | 2.6 | 1 | 2.6 | 1 | 2.6 | 1 | 2.6 | 4 | 10.4 | 1 | 2.6
0.2 | System Integrity | 4 | 4 | 2 | 2 | 4 | 4 | 4 | 4 | 4 | 4 | 2 | 2 | 5 | 5 | 4 | 4 | 5 | 5 | 3 | 3 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 3 | 3 | 2 | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 3 | 9 | 3 | 9 | 2 | 6 | 4 | 12 | 3 | 9 | 3 | 9 | 3 | 9 | 4 | 12 | 2 | 6 | 3 | 15 | 3 | 15 | 5 | 25 | 1 | 5 | 4 | 12 | 5 | 15 | 1 | 3 |  |  |  |  | 3 | 9 | 3 | 9 | 4 | 12 | 2 | 6 | 4 | 12 | 4 | 12 | 4 | 12 | 3 | 9 | 2 | 6 | 1 | 3 | 3 | 1.2 | 2 | 0.8 | 2 | 0.8 | 1 | 0.4 | 2 | 0.8 | 3 | 1.2 | 2 | 0.8 | 2 | 0.8 | 1 | 0.4 | 3 | 1.8 | 3 | 1.8 | 3 | 7.8 | 4 | 10.4 | 3 | 7.8 | 1 | 1.4 | 1 | 1.4 | 3 | 4.2 | 2 | 2.8 | 4 | 5.6 | 3 | 4.2 | 1 | 1.4 | 3 | 4.2 | 3 | 6 | 3 | 6 | 1 | 2 | 1 | 2 | 2 | 4 | 3 | 0.6 | 1 | 1 | 1 | 1 | 1 | 1 | 3 | 3 | 3 | 7.8 | 3 | 7.8 | 3 | 7.8 | 3 | 7.8 | 3 | 7.8 | 2 | 5.2 | 3 | 7.8 | 2 | 5.2
0.25 | R-value | 3 | 3.75 | 1 | 1.25 | 1 | 1.25 | 2 | 2.5 | 1 | 1.25 | 1 | 1.25 | 1 | 1.25 | 1 | 1.25 | 1 | 1.25 | 1 | 1.25 | 4 | 5 | 4 | 5 | 4 | 5 | 2 | 2.5 | 2 | 2.5 | 3 | 3.75 | 2 | 2.5 | 1 | 1.25 | 1 | 1.25 | 1 | 1.25 | 1 | 1.25 | 1 | 3.75 | 1 | 3.75 | 1 | 3.75 | 3 | 11.25 | 1 | 3.75 | 1 | 3.75 | 1 | 3.75 | 3 | 11.25 | 1 | 3.75 | 3 | 18.75 | 3 | 18.75 | 2 | 12.5 | 3 | 18.75 | 1 | 3.75 | 1 | 3.75 | 1 | 3.75 |  |  |  |  | 1 | 3.75 | 1 | 3.75 | 1 | 3.75 | 1 | 3.75 | 3 | 11.25 | 1 | 3.75 | 1 | 3.75 | 3 | 11.25 | 1 | 3.75 | 1 | 3.75 | 1 | 0.5 | 1 | 0.5 | 1 | 0.5 | 1 | 0.5 | 1 | 0.5 | 2 | 1 | 1 | 0.5 | 1 | 0.5 | 1 | 0.5 | 1 | 0.75 | 1 | 0.75 | 1 | 3.25 | 1 | 3.25 | 1 | 3.25 | 1 | 1.75 | 1 | 1.75 | 5 | 8.75 | 1 | 1.75 | 1 | 1.75 | 1 | 1.75 | 4 | 7 | 1 | 1.75 | 1 | 2.5 | 1 | 2.5 | 1 | 2.5 | 1 | 2.5 | 1 | 2.5 | 1 | 0.25 | 1 | 1.25 | 1 | 1.25 | 1 | 1.25 | 1 | 1.25 | 1 | 3.25 | 1 | 3.25 | 1 | 3.25 | 1 | 3.25 | 1 | 3.25 | 1 | 3.25 | 1 | 3.25 | 1 | 3.25
0.25 | Reduce Cooling Load | 3 | 3.75 | 4 | 5 | 1 | 1.25 | 4 | 5 | 1 | 1.25 | 4 | 5 | 4 | 5 | 3 | 3.75 | 1 | 1.25 | 3 | 3.75 | 2 | 2.5 | 3 | 3.75 | 4 | 5 | 1 | 1.25 | 3 | 3.75 | 2 | 2.5 | 2 | 2.5 | 1 | 1.25 | 1 | 1.25 | 1 | 1.25 | 1 | 1.25 | 1 | 3.75 | 1 | 3.75 | 1 | 3.75 | 3 | 11.25 | 1 | 3.75 | 1 | 3.75 | 1 | 3.75 | 1 | 3.75 | 1 | 3.75 | 1 | 6.25 | 3 | 18.75 | 1 | 6.25 | 3 | 18.75 | 1 | 3.75 | 1 | 3.75 | 1 | 3.75 |  |  |  |  | 1 | 3.75 | 1 | 3.75 | 1 | 3.75 | 1 | 3.75 | 3 | 11.25 | 3 | 11.25 | 1 | 3.75 | 3 | 11.25 | 1 | 3.75 | 1 | 3.75 | 1 | 0.5 | 1 | 0.5 | 1 | 0.5 | 1 | 0.5 | 1 | 0.5 | 1 | 0.5 | 1 | 0.5 | 1 | 0.5 | 1 | 0.5 | 1 | 0.75 | 1 | 0.75 | 1 | 3.25 | 1 | 3.25 | 1 | 3.25 | 1 | 1.75 | 1 | 1.75 | 4 | 7 | 1 | 1.75 | 1 | 1.75 | 1 | 1.75 | 1 | 1.75 | 1 | 1.75 | 1 | 2.5 | 1 | 2.5 | 1 | 2.5 | 3 | 7.5 | 1 | 2.5 | 1 | 0.25 | 1 | 1.25 | 1 | 1.25 | 1 | 1.25 | 1 | 1.25 | 1 | 3.25 | 1 | 3.25 | 1 | 3.25 | 2 | 6.5 | 1 | 3.25 | 1 | 3.25 | 1 | 3.25 | 2 | 6.5
0.25 | Reduce Heating Load | 3 | 3.75 | 4 | 5 | 1 | 1.25 | 4 | 5 | 1 | 1.25 | 2 | 2.5 | 1 | 1.25 | 1 | 1.25 | 1 | 1.25 | 3 | 3.75 | 3 | 3.75 | 3 | 3.75 | 4 | 5 | 1 | 1.25 | 3 | 3.75 | 2 | 2.5 | 2 | 2.5 | 1 | 1.25 | 1 | 1.25 | 1 | 1.25 | 1 | 1.25 | 1 | 3.75 | 0 | 0 | 1 | 3.75 | 2 | 7.5 | 0 | 0 | 1 | 3.75 | 1 | 3.75 | 2 | 7.5 | 1 | 3.75 | 1 | 6.25 | 3 | 18.75 | 1 | 6.25 | 3 | 18.75 | 1 | 3.75 | 1 | 3.75 | 1 | 3.75 |  |  |  |  | 1 | 3.75 | 1 | 3.75 | 1 | 3.75 | 1 | 3.75 | 3 | 11.25 | 1 | 3.75 | 1 | 3.75 | 3 | 11.25 | 1 | 3.75 | 1 | 3.75 | 1 | 0.5 | 1 | 0.5 | 1 | 0.5 | 1 | 0.5 | 1 | 0.5 | 1 | 0.5 | 1 | 0.5 | 1 | 0.5 | 1 | 0.5 | 1 | 0.75 | 1 | 0.75 | 1 | 3.25 | 1 | 3.25 | 1 | 3.25 | 1 | 1.75 | 1 | 1.75 | 5 | 8.75 | 1 | 1.75 | 1 | 1.75 | 1 | 1.75 | 1 | 1.75 | 1 | 1.75 | 1 | 2.5 | 1 | 2.5 | 1 | 2.5 | 3 | 7.5 | 1 | 2.5 | 1 | 0.25 | 1 | 1.25 | 1 | 1.25 | 1 | 1.25 | 1 | 1.25 | 1 | 3.25 | 1 | 3.25 | 1 | 3.25 | 3 | 9.75 | 1 | 3.25 | 1 | 3.25 | 1 | 3.25 | 3 | 9.75
0.15 | Increased Comfort Level | 2 | 1.5 | 4 | 3 | 1 | 0.75 | 4 | 3 | 1 | 0.75 | 4 | 3 | 1 | 0.75 | 2 | 1.5 | 1 | 0.75 | 1 | 0.75 | 1 | 0.75 | 1 | 0.75 | 3 | 2.25 | 2 | 1.5 | 3 | 2.25 | 2 | 1.5 | 2 | 1.5 | 1 | 0.75 | 1 | 0.75 | 1 | 0.75 | 1 | 0.75 | 1 | 2.25 | 1 | 2.25 | 1 | 2.25 | 2 | 4.5 | 1 | 2.25 | 1 | 2.25 | 1 | 2.25 | 1 | 2.25 | 1 | 2.25 | 1 | 3.75 | 1 | 3.75 | 1 | 3.75 | 1 | 3.75 | 1 | 2.25 | 1 | 2.25 | 1 | 2.25 |  |  |  |  | 1 | 2.25 | 1 | 2.25 | 1 | 2.25 | 1 | 2.25 | 1 | 2.25 | 1 | 2.25 | 1 | 2.25 | 2 | 4.5 | 1 | 2.25 | 1 | 2.25 | 1 | 0.3 | 1 | 0.3 | 1 | 0.3 | 1 | 0.3 | 1 | 0.3 | 3 | 0.9 | 1 | 0.3 | 1 | 0.3 | 1 | 0.3 | 1 | 0.45 | 1 | 0.45 | 1 | 1.95 | 1 | 1.95 | 1 | 1.95 | 1 | 1.05 | 1 | 1.05 | 5 | 5.25 | 1 | 1.05 | 1 | 1.05 | 1 | 1.05 | 2 | 2.1 | 1 | 1.05 | 1 | 1.5 | 1 | 1.5 | 1 | 1.5 | 3 | 4.5 | 1 | 1.5 | 1 | 0.15 | 1 | 0.75 | 1 | 0.75 | 1 | 0.75 | 1 | 0.75 | 1 | 1.95 | 2 | 3.9 | 1 | 1.95 | 1 | 1.95 | 3 | 5.85 | 1 | 1.95 | 1 | 1.95 | 3 | 5.85
0.35 | Reduced Air Infiltration | 2 | 3.5 | 3 | 5.25 | 1 | 1.75 | 4 | 7 | 1 | 1.75 | 1 | 1.75 | 1 | 1.75 | 1 | 1.75 | 1 | 1.75 | 2 | 3.5 | 3 | 5.25 | 3 | 5.25 | 3 | 5.25 | 3 | 5.25 | 3 | 5.25 | 4 | 7 | 3 | 5.25 | 1 | 1.75 | 1 | 1.75 | 1 | 1.75 | 1 | 1.75 | 1 | 5.25 | 2 | 10.5 | 1 | 5.25 | 2 | 10.5 | 1 | 5.25 | 1 | 5.25 | 1 | 5.25 | 1 | 5.25 | 1 | 5.25 | 1 | 8.75 | 3 | 26.25 | 2 | 17.5 | 1 | 8.75 | 3 | 15.75 | 1 | 5.25 | 3 | 15.75 |  |  |  |  | 1 | 5.25 | 1 | 5.25 | 1 | 5.25 | 1 | 5.25 | 1 | 5.25 | 3 | 15.75 | 1 | 5.25 | 1 | 5.25 | 2 | 10.5 | 3 | 15.75 | 1 | 0.7 | 1 | 0.7 | 1 | 0.7 | 1 | 0.7 | 1 | 0.7 | 1 | 0.7 | 1 | 0.7 | 1 | 0.7 | 1 | 0.7 | 1 | 1.05 | 1 | 1.05 | 1 | 4.55 | 1 | 4.55 | 1 | 4.55 | 1 | 2.45 | 1 | 2.45 | 5 | 12.25 | 2 | 4.9 | 1 | 2.45 | 1 | 2.45 | 1 | 2.45 | 1 | 2.45 | 1 | 3.5 | 1 | 3.5 | 1 | 3.5 | 1 | 3.5 | 1 | 3.5 | 1 | 0.35 | 1 | 1.75 | 1 | 1.75 | 1 | 1.75 | 1 | 1.75 | 1 | 4.55 | 1 | 4.55 | 1 | 4.55 | 3 | 13.65 | 1 | 4.55 | 1 | 4.55 | 3 | 13.65 | 3 | 13.65
0.3 | Indoor Air Quality | 3 | 4.5 | 3 | 4.5 | 1 | 1.5 | 4 | 6 | 1 | 1.5 | 1 | 1.5 | 1 | 1.5 | 2 | 3 | 3 | 4.5 | 1 | 1.5 | 1 | 1.5 | 1 | 1.5 | 2 | 3 | 1 | 1.5 | 3 | 4.5 | 2 | 3 | 2 | 3 | 1 | 1.5 | 1 | 1.5 | 1 | 1.5 | 1 | 1.5 | 1 | 4.5 | 1 | 4.5 | 1 | 4.5 | 1 | 4.5 | 1 | 4.5 | 1 | 4.5 | 1 | 4.5 | 1 | 4.5 | 1 | 4.5 | 1 | 7.5 | 1 | 7.5 | 1 | 7.5 | 1 | 7.5 | 1 | 4.5 | 1 | 4.5 | 1 | 4.5 |  |  |  |  | 1 | 4.5 | 1 | 4.5 | 1 | 4.5 | 1 | 4.5 | 1 | 4.5 | 1 | 4.5 | 1 | 4.5 | 1 | 4.5 | 1 | 4.5 | 1 | 4.5 | 1 | 0.6 | 1 | 0.6 | 1 | 0.6 | 1 | 0.6 | 1 | 0.6 | 1 | 0.6 | 1 | 0.6 | 1 | 0.6 | 1 | 0.6 | 1 | 0.9 | 1 | 0.9 | 3 | 11.7 | 4 | 15.6 | 1 | 3.9 | 1 | 2.1 | 1 | 2.1 | 3 | 6.3 | 1 | 2.1 | 1 | 2.1 | 1 | 2.1 | 1 | 2.1 | 1 | 2.1 | 1 | 3 | 1 | 3 | 1 | 3 | 1 | 3 | 1 | 3 | 1 | 0.3 | 1 | 1.5 | 1 | 1.5 | 1 | 1.5 | 1 | 1.5 | 1 | 3.9 | 1 | 3.9 | 1 | 3.9 | 1 | 3.9 | 1 | 3.9 | 1 | 3.9 | 1 | 3.9 | 1 | 3.9
0.1 | Chemical Compatibility & VOC | 1 | 0.5 | 2 | 1 | 1 | 0.5 | 1 | 0.5 | 1 | 0.5 | 1 | 0.5 | 1 | 0.5 | 1 | 0.5 | 1 | 0.5 | 1 | 0.5 | 1 | 0.5 | 1 | 0.5 | 1 | 0.5 | 1 | 0.5 | 3 | 1.5 | 1 | 0.5 | 1 | 0.5 | 1 | 0.5 | 1 | 0.5 | 1 | 0.5 | 1 | 0.5 | 1 | 1.5 | 1 | 1.5 | 1 | 1.5 | 1 | 1.5 | 1 | 1.5 | 1 | 1.5 | 1 | 1.5 | 1 | 1.5 | 1 | 1.5 | 1 | 2.5 | 1 | 2.5 | 1 | 2.5 | 1 | 2.5 | 1 | 1.5 | 1 | 1.5 | 1 | 1.5 |  |  |  |  | 1 | 1.5 | 1 | 1.5 | 1 | 1.5 | 1 | 1.5 | 1 | 1.5 | 1 | 1.5 | 1 | 1.5 | 1 | 1.5 | 1 | 1.5 | 1 | 1.5 | 1 | 0.2 | 1 | 0.2 | 1 | 0.2 | 1 | 0.2 | 1 | 0.2 | 1 | 0.2 | 1 | 0.2 | 1 | 0.2 | 1 | 0.2 | 1 | 0.3 | 1 | 0.3 | 1 | 1.3 | 1 | 1.3 | 1 | 1.3 | 1 | 0.7 | 1 | 0.7 | 1 | 0.7 | 1 | 0.7 | 1 | 0.7 | 1 | 0.7 | 1 | 0.7 | 1 | 0.7 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0.1 | 1 | 0.5 | 1 | 0.5 | 1 | 0.5 | 1 | 0.5 | 1 | 1.3 | 1 | 1.3 | 1 | 1.3 | 1 | 1.3 | 1 | 1.3 | 1 | 1.3 | 1 | 1.3 | 1 | 1.3
0.3 | Resists Mold/Mildew/Insects | 4 | 6 | 3 | 4.5 | 1 | 1.5 | 3 | 4.5 | 1 | 1.5 | 1 | 1.5 | 4 | 6 | 4 | 6 | 4 | 6 | 3 | 4.5 | 3 | 4.5 | 1 | 1.5 | 2 | 3 | 2 | 3 | 3 | 4.5 | 3 | 4.5 | 2 | 3 | 1 | 1.5 | 1 | 1.5 | 1 | 1.5 | 1 | 1.5 | 3 | 13.5 | 2 | 9 | 1 | 4.5 | 2 | 9 | 3 | 13.5 | 4 | 18 | 4 | 18 | 4 | 18 | 3 | 13.5 | 1 | 7.5 | 1 | 7.5 | 0 | 0 | 2 | 15 | 4 | 18 | 3 | 13.5 | 3 | 13.5 |  |  |  |  | 1 | 4.5 | 2 | 9 | 3 | 13.5 | 3 | 13.5 | 3 | 13.5 | 3 | 13.5 | 4 | 18 | 2 | 9 | 2 | 9 | 1 | 4.5 | 1 | 0.6 | 1 | 0.6 | 1 | 0.6 | 1 | 0.6 | 1 | 0.6 | 1 | 0.6 | 1 | 0.6 | 2 | 1.2 | 5 | 3 | 2 | 1.8 | 3 | 2.7 | 1 | 3.9 | 1 | 3.9 | 1 | 3.9 | 1 | 2.1 | 1 | 2.1 | 1 | 2.1 | 1 | 2.1 | 1 | 2.1 | 1 | 2.1 | 1 | 2.1 | 1 | 2.1 | 1 | 3 | 1 | 3 | 1 | 3 | 1 | 3 | 1 | 3 | 1 | 0.3 | 1 | 1.5 | 1 | 1.5 | 1 | 1.5 | 1 | 1.5 | 1 | 3.9 | 2 | 7.8 | 1 | 3.9 | 1 | 3.9 | 1 | 3.9 | 1 | 3.9 | 1 | 3.9 | 1 | 3.9
0.3 | Supports Physical Integration with Other Systems | 4 | 6 | 4 | 6 | 2 | 3 | 3 | 4.5 | 3 | 4.5 | 3 | 4.5 | 1 | 1.5 | 1 | 1.5 | 1 | 1.5 | 4 | 6 | 2 | 3 | 2 | 3 | 1 | 1.5 | 2 | 3 | 3 | 4.5 | 1 | 1.5 | 1 | 1.5 | 1 | 1.5 | 1 | 1.5 | 1 | 1.5 | 1 | 1.5 | 1 | 4.5 | 1 | 4.5 | 1 | 4.5 | 1 | 4.5 | 1 | 4.5 | 1 | 4.5 | 2 | 9 | 2 | 9 | 1 | 4.5 | 2 | 15 | 1 | 7.5 | 1 | 7.5 | 3 | 22.5 | 1 | 4.5 | 1 | 4.5 | 1 | 4.5 |  |  |  |  | 1 | 4.5 | 3 | 13.5 | 2 | 9 | 3 | 13.5 | 2 | 9 | 2 | 9 | 2 | 9 | 2 | 9 | 2 | 9 | 3 | 13.5 | 3 | 1.8 | 3 | 1.8 | 3 | 1.8 | 3 | 1.8 | 3 | 1.8 | 3 | 1.8 | 2 | 1.2 | 2 | 1.2 | 2 | 1.2 | 2 | 1.8 | 1 | 0.9 | 2 | 7.8 | 1 | 3.9 | 3 | 11.7 | 4 | 8.4 | 1 | 2.1 | 1 | 2.1 | 1 | 2.1 | 1 | 2.1 | 1 | 2.1 | 1 | 2.1 | 1 | 2.1 | 1 | 3 | 2 | 6 | 1 | 3 | 1 | 3 | 1 | 3 | 1 | 0.3 | 1 | 1.5 | 1 | 1.5 | 1 | 1.5 | 1 | 1.5 | 1 | 3.9 | 1 | 3.9 | 3 | 11.7 | 3 | 11.7 | 1 | 3.9 | 1 | 3.9 | 1 | 3.9 | 2 | 7.8
0.1 | Reduces System Part Count | 4 | 2 | 5 | 2.5 | 1 | 0.5 | 1 | 0.5 | 2 | 1 | 1 | 0.5 | 1 | 0.5 | 1 | 0.5 | 1 | 0.5 | 1 | 0.5 | 3 | 1.5 | 2 | 1 | 4 | 2 | 0 | 0 | 1 | 0.5 | 1 | 0.5 | 1 | 0.5 | 1 | 0.5 | 1 | 0.5 | 1 | 0.5 | 1 | 0.5 | 1 | 1.5 | 2 | 3 | 2 | 3 | 1 | 1.5 | 1 | 1.5 | 1 | 1.5 | 1 | 1.5 | 1 | 1.5 | 1 | 1.5 | 4 | 10 | 3 | 7.5 | 1 | 2.5 | 3 | 7.5 | 1 | 1.5 | 1 | 1.5 | 1 | 1.5 |  |  |  |  | 1 | 1.5 | 3 | 4.5 | 2 | 3 | 3 | 4.5 | 1 | 1.5 | 1 | 1.5 | 2 | 3 | 1 | 1.5 | 1 | 1.5 | 3 | 4.5 | 1 | 0.2 | 1 | 0.2 | 1 | 0.2 | 2 | 0.4 | 1 | 0.2 | 2 | 0.4 | 1 | 0.2 | 2 | 0.4 | 2 | 0.4 | 1 | 0.3 | 1 | 0.3 | 1 | 1.3 | 1 | 1.3 | 1 | 1.3 | 1 | 0.7 | 3 | 2.1 | 1 | 0.7 | 3 | 2.1 | 1 | 0.7 | 1 | 0.7 | 1 | 0.7 | 1 | 0.7 | 2 | 2 | 2 | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0.1 | 2 | 1 | 1 | 0.5 | 3 | 1.5 | 3 | 1.5 | 1 | 1.3 | 1 | 1.3 | 4 | 5.2 | 3 | 3.9 | 1 | 1.3 | 1 | 1.3 | 1 | 1.3 | 1 | 1.3
0.35 | Capable of Engineered Performance | 4 | 7 | 4 | 7 | 5 | 8.75 | 5 | 8.75 | 4 | 7 | 5 | 8.75 | 2 | 3.5 | 3 | 5.25 | 2 | 3.5 | 4 | 7 | 2 | 3.5 | 2 | 3.5 | 3 | 5.25 | 1 | 1.75 | 3 | 5.25 | 1 | 1.75 | 1 | 1.75 | 1 | 1.75 | 1 | 1.75 | 0 | 0 | 1 | 1.75 | 1 | 5.25 | 2 | 10.5 | 2 | 10.5 | 1 | 5.25 | 0 | 0 | 1 | 5.25 | 2 | 10.5 | 2 | 10.5 | 1 | 5.25 | 4 | 35 | 3 | 26.25 | 4 | 35 | 4 | 35 | 1 | 5.25 | 3 | 15.75 | 2 | 10.5 |  |  |  |  | 2 | 10.5 | 3 | 15.75 | 2 | 10.5 | 2 | 10.5 | 2 | 10.5 | 3 | 15.75 | 2 | 10.5 | 2 | 10.5 | 2 | 10.5 | 1 | 5.25 | 2 | 1.4 | 1 | 0.7 | 1 | 0.7 | 1 | 0.7 | 2 | 1.4 | 1 | 0.7 | 1 | 0.7 | 1 | 0.7 | 1 | 0.7 | 1 | 1.05 | 1 | 1.05 | 2 | 9.1 | 4 | 18.2 | 1 | 4.55 | 4 | 9.8 | 4 | 9.8 | 4 | 9.8 | 3 | 7.35 | 1 | 2.45 | 3 | 7.35 | 3 | 7.35 | 1 | 2.45 | 1 | 3.5 | 2 | 7 | 1 | 3.5 | 2 | 7 | 1 | 3.5 | 1 | 0.35 | 2 | 3.5 | 3 | 5.25 | 1 | 1.75 | 1 | 1.75 | 1 | 4.55 | 4 | 18.2 | 3 | 13.65 | 3 | 13.65 | 3 | 13.65 | 2 | 9.1 | 3 | 13.65 | 3 | 13.65
0.1 | Regional Trade Familiarity | 1 | 0.5 | 1 | 0.5 | 1 | 0.5 | 1 | 0.5 | 1 | 0.5 | 1 | 0.5 | 1 | 0.5 | 1 | 0.5 | 1 | 0.5 | 1 | 0.5 | 1 | 0.5 | 0 | 0 | 2 | 1 | 3 | 1.5 | 1 | 0.5 | 0 | 0 | 1 | 0.5 | 1 | 0.5 | 1 | 0.5 | 1 | 0.5 | 1 | 0.5 | 1 | 1.5 | 1 | 1.5 | 5 | 7.5 | 3 | 4.5 | 0 | 0 | 4 | 6 | 4 | 6 | 1 | 1.5 | 2 | 3 | 2 | 5 | 1 | 2.5 | 3 | 7.5 | 4 | 10 | 3 | 4.5 | 1 | 1.5 | 3 | 4.5 |  |  |  |  | 2 | 3 | 4 | 6 | 2 | 3 | 4 | 6 | 5 | 7.5 | 4 | 6 | 4 | 6 | 4 | 6 | 3 | 4.5 | 1 | 1.5 | 1 | 0.2 | 5 | 1 | 5 | 1 | 5 | 1 | 4 | 0.8 | 5 | 1 | 5 | 1 | 4 | 0.8 | 4 | 0.8 | 5 | 1.5 | 4 | 1.2 | 3 | 3.9 | 2 | 2.6 | 5 | 6.5 | 2 | 1.4 | 2 | 1.4 | 2 | 1.4 | 1 | 0.7 | 3 | 2.1 | 4 | 2.8 | 1 | 0.7 | 5 | 3.5 | 5 | 5 | 4 | 4 | 5 | 5 | 1 | 1 | 2 | 2 | 5 | 0.5 | 3 | 1.5 | 2 | 1 | 4 | 2 | 5 | 2.5 | 4 | 5.2 | 5 | 6.5 | 2 | 2.6 | 1 | 1.3 | 4 | 5.2 | 2 | 2.6 | 1 | 1.3 | 2 | 2.6
0.55 | Part of Overall Quality System | 4 | 11 | 3 | 8.25 | 4 | 11 | 3 | 8.25 | 3 | 8.25 | 3 | 8.25 | 3 | 8.25 | 3 | 8.25 | 3 | 8.25 | 1 | 2.75 | 1 | 2.75 | 1 | 2.75 | 1 | 2.75 | 2 | 5.5 | 4 | 11 | 5 | 13.75 | 2 | 5.5 | 4 | 11 | 3 | 8.25 | 5 | 13.75 | 5 | 13.75 | 1 | 8.25 | 1 | 8.25 | 2 | 16.5 | 1 | 8.25 | 0 | 0 | 3 | 24.75 | 3 | 24.75 | 3 | 24.75 | 3 | 24.75 | 1 | 13.75 | 1 | 13.75 | 3 | 41.25 | 1 | 13.75 | 1 | 8.25 | 3 | 24.75 | 2 | 16.5 |  |  |  |  | 2 | 16.5 | 1 | 8.25 | 3 | 24.75 | 3 | 24.75 | 1 | 8.25 | 3 | 24.75 | 4 | 33 | 3 | 24.75 | 2 | 16.5 | 1 | 8.25 | 1 | 1.1 | 1 | 1.1 | 1 | 1.1 | 1 | 1.1 | 1 | 1.1 | 1 | 1.1 | 1 | 1.1 | 1 | 1.1 | 1 | 1.1 | 1 | 1.65 | 1 | 1.65 | 3 | 21.45 | 4 | 28.6 | 3 | 21.45 | 4 | 15.4 | 1 | 3.85 | 4 | 15.4 | 1 | 3.85 | 3 | 11.55 | 1 | 3.85 | 2 | 7.7 | 1 | 3.85 | 1 | 5.5 | 1 | 5.5 | 1 | 5.5 | 1 | 5.5 | 1 | 5.5 | 1 | 0.55 | 1 | 2.75 | 1 | 2.75 | 1 | 2.75 | 1 | 2.75 | 1 | 7.15 | 1 | 7.15 | 1 | 7.15 | 1 | 7.15 | 1 | 7.15 | 1 | 7.15 | 3 | 21.45 | 1 | 7.15
0.1 | Reduces Construction Time | 1 | 0.5 | 3 | 1.5 | 1 | 0.5 | 1 | 0.5 | 1 | 0.5 | 1 | 0.5 | 1 | 0.5 | 1 | 0.5 | 1 | 0.5 | 0 | 0 | 3 | 1.5 | 1 | 0.5 | 4 | 2 | 2 | 1 | 3 | 1.5 | 2 | 1 | 1 | 0.5 | 1 | 0.5 | 1 | 0.5 | 1 | 0.5 | 1 | 0.5 | 1 | 1.5 | 3 | 4.5 | 1 | 1.5 | 1 | 1.5 | 1 | 1.5 | 1 | 1.5 | 1 | 1.5 | 1 | 1.5 | 1 | 1.5 | 4 | 10 | 3 | 7.5 | 1 | 2.5 | 3 | 7.5 | 1 | 1.5 | 1 | 1.5 | 1 | 1.5 |  |  |  |  | 1 | 1.5 | 4 | 6 | 2 | 3 | 3 | 4.5 | 1 | 1.5 | 2 | 3 | 2 | 3 | 1 | 1.5 | 1 | 1.5 | 3 | 4.5 | 3 | 0.6 | 2 | 0.4 | 2 | 0.4 | 3 | 0.6 | 2 | 0.4 | 2 | 0.4 | 2 | 0.4 | 2 | 0.4 | 3 | 0.6 | 1 | 0.3 | 3 | 0.9 | 1 | 1.3 | 1 | 1.3 | 1 | 1.3 | 2 | 1.4 | 3 | 2.1 | 1 | 0.7 | 3 | 2.1 | 1 | 0.7 | 1 | 0.7 | 1 | 0.7 | 1 | 0.7 | 2 | 2 | 3 | 3 | 1 | 1 | 1 | 1 | 1 | 1 | 3 | 0.3 | 2 | 1 | 1 | 0.5 | 3 | 1.5 | 3 | 1.5 | 2 | 2.6 | 2 | 2.6 | 2 | 2.6 | 3 | 3.9 | 1 | 1.3 | 1 | 1.3 | 1 | 1.3 | 1 | 1.3
0.3 | Increases Construction Precision | 3 | 4.5 | 3 | 4.5 | 2 | 3 | 2 | 3 | 2 | 3 | 2 | 3 | 1 | 1.5 | 1 | 1.5 | 1 | 1.5 | 1 | 1.5 | 1 | 1.5 | 1 | 1.5 | 3 | 4.5 | 2 | 3 | 3 | 4.5 | 1 | 1.5 | 1 | 1.5 | 1 | 1.5 | 1 | 1.5 | 1 | 1.5 | 1 | 1.5 | 1 | 4.5 | 3 | 13.5 | 1 | 4.5 | 1 | 4.5 | 1 | 4.5 | 1 | 4.5 | 1 | 4.5 | 1 | 4.5 | 1 | 4.5 | 2 | 15 | 2 | 15 | 3 | 22.5 | 1 | 7.5 | 1 | 4.5 | 1 | 4.5 | 0 | 0 |  |  |  |  | 1 | 4.5 | 1 | 4.5 | 1 | 4.5 | 1 | 4.5 | 1 | 4.5 | 1 | 4.5 | 1 | 4.5 | 1 | 4.5 | 1 | 4.5 | 1 | 4.5 | 1 | 0.6 | 1 | 0.6 | 1 | 0.6 | 1 | 0.6 | 1 | 0.6 | 1 | 0.6 | 1 | 0.6 | 1 | 0.6 | 1 | 0.6 | 1 | 0.9 | 1 | 0.9 | 1 | 3.9 | 1 | 3.9 | 1 | 3.9 | 4 | 8.4 | 3 | 6.3 | 1 | 2.1 | 1 | 2.1 | 1 | 2.1 | 1 | 2.1 | 1 | 2.1 | 1 | 2.1 | 1 | 3 | 1 | 3 | 1 | 3 | 1 | 3 | 1 | 3 | 1 | 0.3 | 1 | 1.5 | 1 | 1.5 | 1 | 1.5 | 1 | 1.5 | 1 | 3.9 | 1 | 3.9 | 1 | 3.9 | 1 | 3.9 | 1 | 3.9 | 1 | 3.9 | 1 | 3.9 | 1 | 3.9
0.1 | Reduces Number of Subcontracts | 1 | 0.5 | 1 | 0.5 | 1 | 0.5 | 1 | 0.5 | 1 | 0.5 | 1 | 0.5 | 1 | 0.5 | 1 | 0.5 | 1 | 0.5 | 1 | 0.5 | 1 | 0.5 | 1 | 0.5 | 1 | 0.5 | 3 | 1.5 | 1 | 0.5 | 1 | 0.5 | 1 | 0.5 | 1 | 0.5 | 1 | 0.5 | 1 | 0.5 | 1 | 0.5 | 1 | 1.5 | 1 | 1.5 | 1 | 1.5 | 1 | 1.5 | 1 | 1.5 | 1 | 1.5 | 1 | 1.5 | 1 | 1.5 | 1 | 1.5 | 1 | 2.5 | 1 | 2.5 | 1 | 2.5 | 1 | 2.5 | 1 | 1.5 | 2 | 3 | 1 | 1.5 |  |  |  |  | 1 | 1.5 | 1 | 1.5 | 2 | 3 | 1 | 1.5 | 1 | 1.5 | 1 | 1.5 | 1 | 1.5 | 1 | 1.5 | 1 | 1.5 | 1 | 1.5 | 1 | 0.2 | 1 | 0.2 | 2 | 0.4 | 3 | 0.6 | 1 | 0.2 | 1 | 0.2 | 1 | 0.2 | 2 | 0.4 | 1 | 0.2 | 1 | 0.3 | 2 | 0.6 | 1 | 1.3 | 1 | 1.3 | 1 | 1.3 | 1 | 0.7 | 1 | 0.7 | 1 | 0.7 | 1 | 0.7 | 1 | 0.7 | 1 | 0.7 | 1 | 0.7 | 1 | 0.7 | 1 | 1 | 3 | 3 | 2 | 2 | 1 | 1 | 1 | 1 | 3 | 0.3 | 2 | 1 | 1 | 0.5 | 3 | 1.5 | 3 | 1.5 | 1 | 1.3 | 1 | 1.3 | 1 | 1.3 | 1 | 1.3 | 1 | 1.3 | 1 | 1.3 | 1 | 1.3 | 1 | 1.3
0.1 | Reduces Construction Cost (labor and material) | 1 | 0.5 | 3 | 1.5 | 1 | 0.5 | 1 | 0.5 | 1 | 0.5 | 1 | 0.5 | 1 | 0.5 | 1 | 0.5 | 1 | 0.5 | 1 | 0.5 | 3 | 1.5 | 1 | 0.5 | 1 | 0.5 | 2 | 1 | 3 | 1.5 | 1 | 0.5 | 1 | 0.5 | 1 | 0.5 | 1 | 0.5 | 1 | 0.5 | 1 | 0.5 | 1 | 1.5 | 2 | 3 | 3 | 4.5 | 1 | 1.5 | 1 | 1.5 | 1 | 1.5 | 1 | 1.5 | 1 | 1.5 | 1 | 1.5 | 2 | 5 | 3 | 7.5 | 1 | 2.5 | 3 | 7.5 | 1 | 1.5 | 2 | 3 | 2 | 3 |  |  |  |  | 1 | 1.5 | 4 | 6 | 2 | 3 | 3 | 4.5 | 1 | 1.5 | 2 | 3 | 1 | 1.5 | 1 | 1.5 | 1 | 1.5 | 3 | 4.5 | 3 | 0.6 | 2 | 0.4 | 3 | 0.6 | 3 | 0.6 | 2 | 0.4 | 3 | 0.6 | 2 | 0.4 | 2 | 0.4 | 3 | 0.6 | 1 | 0.3 | 3 | 0.9 | 1 | 1.3 | 1 | 1.3 | 1 | 1.3 | 1 | 0.7 | 1 | 0.7 | 1 | 0.7 | 1 | 0.7 | 1 | 0.7 | 1 | 0.7 | 1 | 0.7 | 1 | 0.7 | 2 | 2 | 3 | 3 | 2 | 2 | 1 | 1 | 1 | 1 | 3 | 0.3 | 2 | 1 | 1 | 0.5 | 3 | 1.5 | 3 | 1.5 | 2 | 2.6 | 1 | 1.3 | 2 | 2.6 | 3 | 3.9 | 1 | 1.3 | 1 | 1.3 | 1 | 1.3 | 1 | 1.3
0.2 | Durability / Low Operating Cost | 4 | 4 | 3 | 3 | 3 | 3 | 4 | 4 | 3 | 3 | 4 | 4 | 4 | 4 | 4 | 4 | 5 | 5 | 4 | 4 | 3 | 3 | 3 | 3 | 3 | 3 | 2 | 2 | 4 | 4 | 4 | 4 | 3 | 3 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 3 | 2 | 6 | 2 | 6 | 3 | 9 | 1 | 3 | 1 | 3 | 3 | 9 | 3 | 9 | 2 | 6 | 2 | 10 | 2 | 10 | 4 | 20 | 1 | 5 | 5 | 15 | 3 | 9 | 2 | 6 |  |  |  |  | 3 | 9 | 2 | 6 | 3 | 9 | 2 | 6 | 2 | 6 | 2 | 6 | 3 | 9 | 3 | 9 | 2 | 6 | 1 | 3 | 3 | 1.2 | 1 | 0.4 | 1 | 0.4 | 1 | 0.4 | 2 | 0.8 | 2 | 0.8 | 2 | 0.8 | 3 | 1.2 | 3 | 1.2 | 1 | 0.6 | 2 | 1.2 | 3 | 7.8 | 4 | 10.4 | 3 | 7.8 | 4 | 5.6 | 1 | 1.4 | 1 | 1.4 | 3 | 4.2 | 4 | 5.6 | 3 | 4.2 | 3 | 4.2 | 1 | 1.4 | 2 | 4 | 2 | 4 | 3 | 6 | 1 | 2 | 1 | 2 | 3 | 0.6 | 3 | 3 | 1 | 1 | 3 | 3 | 4 | 4 | 2 | 5.2 | 2 | 5.2 | 3 | 7.8 | 3 | 7.8 | 2 | 5.2 | 3 | 7.8 | 2 | 5.2 | 2 | 5.2
0.1 | Provides Initial Design Flexibility | 4 | 2 | 2 | 1 | 2 | 1 | 1 | 0.5 | 1 | 0.5 | 1 | 0.5 | 1 | 0.5 | 1 | 0.5 | 1 | 0.5 | 1 | 0.5 | 1 | 0.5 | 1 | 0.5 | 1 | 0.5 | 2 | 1 | 1 | 0.5 | 1 | 0.5 | 1 | 0.5 | 1 | 0.5 | 1 | 0.5 | 1 | 0.5 | 1 | 0.5 | 1 | 1.5 | 1 | 1.5 | 1 | 1.5 | 1 | 1.5 | 1 | 1.5 | 1 | 1.5 | 1 | 1.5 | 1 | 1.5 | 1 | 1.5 | 3 | 7.5 | 1 | 2.5 | 3 | 7.5 | 4 | 10 | 1 | 1.5 | 1 | 1.5 | 2 | 3 |  |  |  |  | 1 | 1.5 | 3 | 4.5 | 1 | 1.5 | 2 | 3 | 2 | 3 | 2 | 3 | 2 | 3 | 2 | 3 | 1 | 1.5 | 4 | 6 | 3 | 0.6 | 3 | 0.6 | 4 | 0.8 | 3 | 0.6 | 1 | 0.2 | 3 | 0.6 | 1 | 0.2 | 2 | 0.4 | 2 | 0.4 | 2 | 0.6 | 2 | 0.6 | 1 | 1.3 | 1 | 1.3 | 3 | 3.9 | 4 | 2.8 | 1 | 0.7 | 1 | 0.7 | 1 | 0.7 | 1 | 0.7 | 1 | 0.7 | 1 | 0.7 | 1 | 0.7 | 3 | 3 | 2 | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 2 | 0.2 | 1 | 0.5 | 1 | 0.5 | 1 | 0.5 | 4 | 2 | 1 | 1.3 | 1 | 1.3 | 2 | 2.6 | 3 | 3.9 | 1 | 1.3 | 1 | 1.3 | 1 | 1.3 | 3 | 3.9
0.1 | Provides Maintain-it-Yourself flexibility | 2 | 1 | 2 | 1 | 1 | 0.5 | 1 | 0.5 | 1 | 0.5 | 1 | 0.5 | 1 | 0.5 | 1 | 0.5 | 1 | 0.5 | 1 | 0.5 | 1 | 0.5 | 1 | 0.5 | 1 | 0.5 | 1 | 0.5 | 1 | 0.5 | 1 | 0.5 | 1 | 0.5 | 1 | 0.5 | 1 | 0.5 | 1 | 0.5 | 1 | 0.5 | 1 | 1.5 | 1 | 1.5 | 1 | 1.5 | 1 | 1.5 | 1 | 1.5 | 1 | 1.5 | 1 | 1.5 | 1 | 1.5 | 1 | 1.5 | 1 | 2.5 | 1 | 2.5 | 1 | 2.5 | 1 | 2.5 | 1 | 1.5 | 1 | 1.5 | 1 | 1.5 |  |  |  |  | 1 | 1.5 | 3 | 4.5 | 1 | 1.5 | 1 | 1.5 | 3 | 4.5 | 1 | 1.5 | 1 | 1.5 | 1 | 1.5 | 1 | 1.5 | 1 | 1.5 | 1 | 0.2 | 3 | 0.6 | 5 | 1 | 4 | 0.8 | 1 | 0.2 | 3 | 0.6 | 3 | 0.6 | 3 | 0.6 | 1 | 0.2 | 3 | 0.9 | 1 | 0.3 | 2 | 2.6 | 1 | 1.3 | 2 | 2.6 | 1 | 0.7 | 1 | 0.7 | 1 | 0.7 | 1 | 0.7 | 1 | 0.7 | 1 | 0.7 | 1 | 0.7 | 1 | 0.7 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0.1 | 1 | 0.5 | 1 | 0.5 | 1 | 0.5 | 1 | 0.5 | 1 | 1.3 | 1 | 1.3 | 1 | 1.3 | 1 | 1.3 | 1 | 1.3 | 1 | 1.3 | 1 | 1.3 | 1 | 1.3
0.25 | Reduces Environmental (energy, waste) Impact | 4 | 5 | 3 | 3.75 | 1 | 1.25 | 5 | 6.25 | 3 | 3.75 | 4 | 5 | 3 | 3.75 | 2 | 2.5 | 1 | 1.25 | 1 | 1.25 | 3 | 3.75 | 4 | 5 | 4 | 5 | 1 | 1.25 | 2 | 2.5 | 1 | 1.25 | 1 | 1.25 | 1 | 1.25 | 1 | 1.25 | 1 | 1.25 | 1 | 1.25 | 1 | 3.75 | 1 | 3.75 | 1 | 3.75 | 3 | 11.25 | 1 | 3.75 | 1 | 3.75 | 1 | 3.75 | 2 | 7.5 | 1 | 3.75 | 4 | 25 | 3 | 18.75 | 1 | 6.25 | 2 | 12.5 | 1 | 3.75 | 1 | 3.75 | 2 | 7.5 |  |  |  |  | 1 | 3.75 | 2 | 7.5 | 1 | 3.75 | 1 | 3.75 | 4 | 15 | 3 | 11.25 | 1 | 3.75 | 3 | 11.25 | 1 | 3.75 | 1 | 3.75 | 2 | 1 | 1 | 0.5 | 1 | 0.5 | 1 | 0.5 | 3 | 1.5 | 1 | 0.5 | 1 | 0.5 | 1 | 0.5 | 1 | 0.5 | 1 | 0.75 | 1 | 0.75 | 1 | 3.25 | 1 | 3.25 | 1 | 3.25 | 3 | 5.25 | 1 | 1.75 | 4 | 7 | 1 | 1.75 | 1 | 1.75 | 1 | 1.75 | 3 | 5.25 | 1 | 1.75 | 1 | 2.5 | 2 | 5 | 1 | 2.5 | 3 | 7.5 | 2 | 5 | 1 | 0.25 | 1 | 1.25 | 1 | 1.25 | 1 | 1.25 | 1 | 1.25 | 1 | 3.25 | 1 | 3.25 | 2 | 6.5 | 3 | 9.75 | 1 | 3.25 | 1 | 3.25 | 3 | 9.75 | 3 | 9.75
| Total | 66 | 79.75 | 65 | 74.5 | 38 | 48.75 | 63 | 79.75 | 39 | 48.25 | 46 | 57 | 44 | 53 | 44 | 53.5 | 43 | 51.75 | 42 | 51 | 48 | 52.75 | 42 | 49.25 | 56 | 62 | 40 | 43.75 | 57 | 69.25 | 45 | 58.5 | 36 | 42.75 | 26 | 33.25 | 25 | 30.5 | 26 | 34.25 | 27 | 36 | 29 | 96 | 36 | 116.25 | 34 | 105 | 43 | 140.25 | 25 | 77.25 | 36 | 124.5 | 40 | 140.25 | 42 | 153.75 | 32 | 114 | 46 | 237.5 | 45 | 247.5 | 42 | 246.25 | 49 | 252.5 | 39 | 129 | 41 | 144 | 35 | 119.25 |  |  |  |  | 31 | 105 | 50 | 143.25 | 42 | 141.75 | 44 | 141.75 | 47 | 150 | 49 | 171 | 44 | 153 | 45 | 156 | 33 | 114.75 | 36 | 108 | 37 | 15.2 | 37 | 14 | 41 | 14.6 | 41 | 14.4 | 35 | 14.7 | 43 | 15.9 | 34 | 13 | 38 | 14.4 | 39 | 15.6 | 34 | 20.1 | 37 | 21.3 | 36 | 109.85 | 39 | 128.7 | 38 | 106.6 | 45 | 77.7 | 33 | 50.05 | 59 | 104.3 | 34 | 50.75 | 33 | 52.5 | 32 | 47.6 | 34 | 56.35 | 29 | 40.6 | 35 | 65 | 40 | 76 | 31 | 60 | 32 | 71.5 | 26 | 55.5 | 38 | 6.9 | 32 | 31.75 | 26 | 29 | 36 | 32.5 | 43 | 37.5 | 31 | 79.3 | 36 | 98.8 | 39 | 104.65 | 46 | 128.05 | 33 | 89.7 | 28 | 78.65 | 37 | 119.6 | 40 | 116.35
|  | 66 |  | 65 |  | 38 |  | 63 |  | 39 |  | 46 |  | 44 |  | 44 |  | 43 |  | 42 |  | 48 |  | 42 |  | 56 |  | 40 |  | 57 |  | 45 |  | 36 |  | 26 |  | 25 |  | 26 |  | 27 |  | 29 |  | 36 |  | 34 |  | 43 |  | 25 |  | 36 |  | 40 |  | 42 |  | 32 |  | 46 |  | 45 |  | 42 |  | 49 |  | 39 |  | 41 |  | 35 |  | 0 |  | 0 |  | 31 |  | 50 |  | 42 |  | 44 |  | 47 |  | 49 |  | 44 |  | 45 |  | 33 |  | 36 |  | 37 |  | 37 |  | 41 |  | 41 |  | 35 |  | 43 |  | 34 |  | 38 |  | 39 |  | 34 |  | 37 |  | 36 |  | 39 |  | 38 |  | 45 |  | 33 |  | 59 |  | 34 |  | 33 |  | 32 |  | 34 |  | 29 |  | 35 |  | 40 |  | 31 |  | 32 |  | 26 |  | 38 |  | 32 |  | 26 |  | 36 |  | 43 |  | 31 |  | 36 |  | 39 |  | 46 |  | 33 |  | 28 |  | 37 |  | 40
| System performance score ADJUSTED BY USER WEIGHTING PERCENTAGE |  | 79.75 |  | 74.5 |  | 48.75 |  | 79.75 |  | 48.25 |  | 57 |  | 53 |  | 53.5 |  | 51.75 |  | 51 |  | 52.75 |  | 49.25 |  | 62 |  | 43.75 |  | 69.25 |  | 58.5 |  | 42.75 |  | 33.25 |  | 30.5 |  | 34.25 |  | 36 |  | 96 |  | 116.25 |  | 105 |  | 140.25 |  | 77.25 |  | 124.5 |  | 140.25 |  | 153.75 |  | 114 |  | 237.5 |  | 247.5 |  | 246.25 |  | 252.5 |  | 129 |  | 144 |  | 119.25 |  | 0 |  | 0 |  | 105 |  | 143.25 |  | 141.75 |  | 141.75 |  | 150 |  | 171 |  | 153 |  | 156 |  | 114.75 |  | 108 |  | 15.2 |  | 14 |  | 14.6 |  | 14.4 |  | 14.7 |  | 15.9 |  | 13 |  | 14.4 |  | 15.6 |  | 20.1 |  | 21.3 |  | 109.85 |  | 128.7 |  | 106.6 |  | 77.7 |  | 50.05 |  | 104.3 |  | 50.75 |  | 52.5 |  | 47.6 |  | 56.35 |  | 40.6 |  | 65 |  | 76 |  | 60 |  | 71.5 |  | 55.5 |  | 6.9 |  | 31.75 |  | 29 |  | 32.5 |  | 37.5 |  | 79.3 |  | 98.8 |  | 104.65 |  | 128.05 |  | 89.7 |  | 78.65 |  | 119.6 |  | 116.35
user VALUE WEIGHTING
| 7 Owner value weighting factors, 100 points to allocate | 0 | remaining points to allocate
| Comfort (temperature, load responsiveness, humidity, air velocity) | 15
| Healthy (VOC's, dust, particulates, fibers, air quality) | 10
| Dry (bulk moisture management, no mildew) | 20
| Sturdy (no visible deformation, no envelope breach in 100 year events, no damage from 50 year events | 20
???? | Safe, (fire detection, suppression, egress, fall hazards) | 15
| Flexible, (change during construction, SOHO, aging, multiple households, do-it yourself) | 10
| Efficient | 10
Based on your inputs, this whole house score is
7419.9316
This score represents
| 26.48% | of the best possible score for a house with 88 factors